## Hose Test Record
Fire Department Hose Test Record
Test Location: ________________________________________________________________
Test Year: ____________________ |  |  |  |  | Witnessed By: __________________________________________
Test Method 1. Lay line (no more than 300' in length) and record Hose Identification Numbers. 2. Connect apparatus to water supply source. 3. Attach nozzle. 4. Mark each hose coupling at both ends. Make sure the mark on the hose is tight against the coupling. 5. Fill the lines and get normal water flow (there is no air in the lines). 6. Leave nozzles open and raise to 100 psi nozzle pressure. (50 psi for solid streams) 7. Reduce pressure and close nozzles; check couplings for looseness or leaks. 8. Raise pump pressure to 250 psi or designated test pressure and hold for five (5) minutes. 9. Reduce pressure and drain lines. 10. Check for coupling slips. Tag bad sections. 11. Document findings.
Hose Number | Test Date | Hose Size | Hose Length | Hose Condition Accept/Reject | Coupling Condition Accept/Reject | Reason for Rejection | Remarks/Comment
Hose Number | Test Date | Hose Size | Hose Length | Hose Condition Accept/Reject | Coupling Condition Accept/Reject | Reason for Rejection | Remarks/Comment
Hose Number | Test Date | Hose Size | Hose Length | Hose Condition Accept/Reject | Coupling Condition Accept/Reject | Reason for Rejection | Remarks/Comment
Hose Number | Test Date | Hose Size | Hose Length | Hose Condition Accept/Reject | Coupling Condition Accept/Reject | Reason for Rejection | Remarks/Comment