Tennessee Department of Environment and Conservation

Division of Water Resources

William R. Snodgrass Tennessee Tower

312 Rosa L. Parks Avenue, 11th Floor, Nashville, Tennessee 37243

Phase II Stormwater Permit Notice of Intent (NOI)

Phase II Municipal Separate Storm Sewer Systems (MS4)

PURPOSE

The purpose of this Notice of Intent (NOI) is for a Tennessee city, county, utility district, university or military base to submit the information necessary to obtain coverage under an NPDES permit to discharge stormwater runoff from a Phase II municipal separate storm sewer system.

INSTRUCTIONS

You must provide the following information to the Division of Water Resources as application material. You may either submit a hard copy of the signed NOI as described in sub-part 2.2.1 of the MS4 Permit, signed in accordance with the signatory requirements of sub-part 6.7 of the permit, and a copy of the NOI, to the address shown in sub-part 1.2 of the permit for the EFO responsible for the county where the facility is located; or you may submit by e-mail, the completed NOI and attachments (such as map and city ordinances) to water.permits@tn.gov.

After completing the questions in each section, list the Best Management Practices (BMPs) that you will implement in each program. Attached at the end of this NOI is an addendum to list BMP Measurable Goals and Implementation Milestones. You must complete the addendum, providing more details on the goals and milestones for each BMP outlined in this NOI.

After completing the BMP's in each section provide the administrative information to complete those BMP's as explained here:

| Primary Contact and Position/Title | The person in your organization serving as the primary contact. |
| --- | --- |
| Other Department and Roles | Other departments within your organization involved in the project and how their role is identified. |
| Other Government Entity and Roles | Identification of other government entities responsible for implementing one or more of the BMP's. Include a copy of the contract or proposed agreement with execution schedule. |
| Other Institutions and Roles | Identification of partnerships with another MS4 operator or institution (e.g., Chamber of Commerce, environmental interest organizations, civic groups) to achieve the BMP's. |
| Target Groups (if applicable) | Specific kinds of groups that will be targeted, such as service industries (i.e., carpet cleaning), civic groups, schools, and church groups, etc. |

PART I - ADMINISTRATIVE INFORMATION

Name of Phase II MS4 city, county, stormwater utility district or public institution:

Include a latitude and longitude of a representative location within your boundaries for mapping purposes.

| Latitude (dd.dddd): |  | Longitude (dd.dddd): |  |
| --- | --- | --- | --- |

| Responsible Elected Official or Officer |  | Title |
| --- | --- | --- |
| Street Address |  | City |  | State |  | Zip Code |

| PROGRAM CONTACT |  | TECHNICAL CONTACT |
| --- | --- | --- |
| Name |  | Name |
| Email Address |  | Email Address |
| Phone Number |  | Phone Number |

Attach an organizational chart that shows the different departments involved in stormwater management.

PART II - DESCRIPTION OF STORM SEWER SYSTEM

ITEM A - AREA SERVED (IN SQUARE MILES)

For a city, town, university, or utility district university or military base:

Provide jurisdiction area within current boundaries

Provide additional area of urban growth boundary

For a county:

Provide total area:

Provide area that is unincorporated

Provide unincorporated, urbanized area (UA)

Indicate by checking the appropriate box if the permit will be used to regulate non-UA portions of the county:

No

Yes, the entire county (unincorporated)

Yes, the non-UA portions, as follows:

ITEM B - STORM DRAINAGE INFRASTRUCTURE

Give figures for the following features of stormwater drainage infrastructure owned or operated by the local government.  For a county government, indicate whether the figures represent the entire county or only the urbanized area.  Figures for length and number of culverts and catch basins may be rough estimates.

| For counties: Entire county |  | Urbanized area only |  |
| --- | --- | --- | --- |

| Storm Sewers | (miles or feet) |  | Open Ditches | (miles or feet) |
| --- | --- | --- | --- | --- |
| Culverts |  |  | Catch Basins |  |
| Water Quality Treatment Ponds |  |

ITEM C - MAPS

Include a map or maps depicting the following information. A single map may be submitted, as long as the information is legible. If you are not able to provide all the information mark the applicable check box and attach an explanation as to why the information has not been submitted:

| Areas zoned for commercial or industrial activity |  | Military Installations |  |
| --- | --- | --- | --- |
| Municipally owned/operated industrial activities |  | State vocational, technical, college or universities |  |
| Municipal or County Wastewater Treatment Plants |  | Federal vocational, technical, college or universities |  |
| Municipal Vehicle Fleet Maintenance Centers |  | City Roads |  |
| Municipal Power Plants |  | County Roads |  |
| Municipal Airports |  | Streams |  |
| Municipal Landfills |  | Topography or General Drainage Patterns |  |

ITEM D - IDENTIFYING STREAMS WITH UNAVAILABLE PARAMETERS or EXCEPTIONAL TENNESSEE WATERS

Using the GIS mapping tool (http://www.tn.gov/environment/article/wr-water-resources-data-viewer) along with the most current 303(d) list (http://www.tn.gov/environment/article/wr-wq-water-quality-reports-publications) published on the division’s web site, determine whether stormwater from any part of the MS4 discharges into streams with unavailable parameters (previously referred to as impaired streams) for nutrients, pathogens, siltation, or other parameters related to stormwater runoff from urbanized areas or to streams designated as Exceptional Tennessee Waters and list below.  For any waterbody with unavailable parameters or Exceptional Tennessee Waters, indicate the waterbody ID#, name of the waterbody and nature of pollution (cause) or Exceptional status.

| WATERBODY ID# AND NAME OF WATERBODY | NATURE OF POLLUTANT (CAUSE) OR EXCEPTIONAL |
| --- | --- |

If you have additional streams to list, include in a separate attachment.

ITEM E - STATE OR EPA ISSUED TDMLs

Identify established and approved TMDLs with waste load allocations for MS4 discharges in your jurisdiction and check the appropriate box. A list of EPA-Approved TMDLs as well as EPA-Established TMDLs for Tennessee waters can be found on the division’s web site: http://www.tn.gov/environment/article/wr-ws-tennessees-total-maximum-daily-load-tmdl-program.

| Yes |  | No |  | If yes, list the waterbody ID#, name of unavailable waterbody and parameter(s) of concern: |
| --- | --- | --- | --- | --- |

| WATERBODY ID# AND NAME OF UNAVAILABLE WATERBODY | PARAMETERS OF CONCERN |
| --- | --- |

If you have additional streams to list, include in a separate attachment.

PART III - EXISTING LEGAL AUTHORITY TO CONTROL STORMWATER DISCHARGES TO MS4

You must review existing adopted and signed ordinances or regulations that are associated with stormwater discharges to your MS4.  Attach a copy of ordinances and/or policies that give your MS4 the authority to control stormwater discharges into the MS4 storm sewer system. Ordinances and/or policies that deal with stormwater issues might be found, for example, in conjunction with litter control, prohibition of dumping, clean up of spills, grading/building permits, sewer connection ordinances, erosion prevention and sediment control practices, subdivision regulations or other land use/development ordinances.

PART IV - SIGNATURE OF RESPONSIBLE CORPORATE OFFICER

This Notice of Intent (NOI) must be signed as follows:  For a municipality, state, federal, other public agency, and/or co-permittees by either a principal executive officer or ranking elected official.  For purposes of this section, a principal executive officer of a Federal agency includes one of the following:

- The chief executive officer of the agency.

- A senior executive officer having responsibility for the overall operations of a principal geographic unit of the agency (e.g., Regional Administrators of EPA).

I certify under penalty of law that this document and all attachments were prepared by me, or under my direction or supervision.  The submitted information is to the best of my knowledge and belief, true, accurate, and complete.  I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment.  As specified in Tennessee Code Annotated Section 39-16-702(a)(4), this declaration is made under penalty of perjury.”

| Signature |  | Title/Municipality |  | Date |
| --- | --- | --- | --- | --- |
| Signature |  | Title/Municipality |  | Date |
| Signature |  | Title/Municipality |  | Date |
| Signature |  | Title/Municipality |  | Date |
| Signature |  | Title/Municipality |  | Date |
| Signature |  | Title/Municipality |  | Date |
| Signature |  | Title/Municipality |  | Date |

PART V - YOUR PROPOSED STORMWATER QUALITY MANAGEMENT PROGRAM

This NOI requires you to provide a brief description of your current and proposed activities as well as your BMPs for a stormwater management program.  The following sections correspond to the six minimum control measures for a Phase II stormwater management program.  If another MS4 will be responsible for implementing any or all portions of any or all following six minimum measures, then attach either the interlocutory agreement or the proposed agreement and schedule for adoption.  You must still complete this NOI by answering the relevant questions for the six following measures.

For purposes of this NOI, the Public Education and Outreach and Public Participation and Involvement minimum measures have been combined.

SECTION 1 - PUBLIC EDUCATION AND OUTREACH AND PUBLIC INVOLVEMENT/PARTICIPATION

A. Current Activities:

The following is a set of questions on your current Public Education and Outreach and Public Involvement/Participation. These questions are intended to highlight minimum program requirements under the MS4 permit. Each question with a “No” answer must be addressed with a solution in the MS4’s proposed program.

1. Does the municipality currently distribute educational materials on the topics of stormwater quality, instream water quality, pollution impacts, pollution prevention, etc.?  If yes, briefly describe the materials, including media used (e.g., written brochures, public service announcements, etc.); the topic(s) covered, intended target audience(s), and the distribution method:      .

| Yes | No |
| --- | --- |

2. Does the municipality currently conduct or participate in public outreach activities focusing on the topics of stormwater quality, stream water quality, pollution impacts, pollution prevention, etc.?  If yes, briefly describe the outreach activities, topic(s) covered, intended target audience(s), and the frequency of activities:      .

| Yes | No |
| --- | --- |

3. Does the current municipal stormwater management program comply with Local, State and Federal public notice requirements?  If yes, describe how the public is notified:      .

| Yes | No |
| --- | --- |

B. Proposed Activities:

1. List the BMPs that you will implement in the areas of Public Education and Outreach and Public Participation and Involvement. These should be based on a set of priorities that you have identified in the areas of Public Education and Outreach and Public Participation and Involvement. Provide a short descriptive name to the BMP in the left column. In the right column, more fully describe the BMP.

For Public Participation and Involvement BMPs, you may not desire to dictate the ways in which the public participates or is involved in the stormwater quality management program; in this case, your proposed program should provide a forum and/or a structure which guides and encourages the public in participation.  On the other hand, there may be specific ways you do want the public to be involved, based on your program needs.  For instance, you may want stream watch groups to be organized.  In both cases, your proposed program should describe how you will accomplish this, along with a time schedule.

| PROPOSED BEST MANAGEMENT PRACTICES FOR PUBLIC EDUCATION AND PUBLIC PARTICIPATION |
| --- |
| BMP | Name | DESCRIPTION |
| 1A. |  |  |
| 1B. |  |  |
| 1C. |  |  |
| 1D. |  |  |

If you have additional BMPs to list, include in a separate attachment.

2. What specific groups will be targeted (e.g., service industries such as carpet cleaning, lawn care, civic groups, schools, church groups) if applicable:

C. Measurable Goals and Implementation Milestones:

Attached at the end of this NOI is an addendum to list BMP Measurable Goals and Implementation Milestones.  You must complete the addendum, providing more details on the goals and milestones for each BMP outlined in this NOI.

D. Administrative Information:

| ADMINISTRATIVE INFORMATION FOR PUBLIC EDUCATION AND PUBLIC PARTICIPATION |
| --- |
| PRIMARY CONTACT | POSITION OR TITLE |

Identify other Department(s) that will be involved and their role.

| OTHER DEPARTMENT(S) | ROLE |
| --- | --- |

Identify if you will partner with another MS4 Operator, or with another institution (e.g. Chamber of Commerce, Environmental interest organizations, civic groups) in order to carry out the chosen BMPs.

| ENTITY | BMP |
| --- | --- |

Will another governmental entity be responsible for implementing one or more chosen BMPs? If so, identify the entity and which BMP(s) it will implement. Include a copy of the interlocutory agreement, or contract, or proposed agreement with execution schedule.

| ENTITY | BMP |
| --- | --- |

SECTION 2 - ILLICIT DISCHARGE DETECTION AND ELIMINATION

A. Current Activities

The following is a set of questions on your current Illicit Discharge Detection and Elimination Program. These questions are intended to highlight minimum program requirements under the MS4 permit. For MS4s who have not been previously covered under an MS4 permit, each element not currently performed must be implemented by the dates identified in Sub-part 4.1.1 of the permit. Thus, each question with a “No” answer must be addressed with a solution in the MS4’s proposed program.

1. Does the municipality currently have a storm sewer system map that shows the location of system outfalls where the municipal storm sewer system discharges into receiving waters or conveyances owned or operated by another MS4? The map must also show: the names and location of waters that receive discharges from those outfalls; inputs into the storm sewer collection system, such as the inlets, catch basins, drop structures or other defined contributing points to the sewershed of that outfall; and general direction of stormwater flow.

| Yes | No |
| --- | --- |

2. Does the municipality currently have an ordinance or regulatory mechanism that prohibits unauthorized non-stormwater discharges into the storm sewer system?  If yes, attach a copy and give page and section number(s).  If No, proceed to the next section (inspections and enforcement).

| Yes | No |  | Page Number | Paragraph Number |  |
| --- | --- | --- | --- | --- | --- |

3. Does the ordinance or regulatory mechanism clearly define non-stormwater discharges, either through a written description of a non-stormwater discharge or through a listing of authorized or unauthorized non-stormwater discharges?

| Yes | No |
| --- | --- |

4. Does the ordinance or regulatory mechanism allow right-of-entry on private property for inspection of suspected discharges?

| Yes | No |
| --- | --- |

5. Does the ordinance or regulatory mechanism prohibit dumping?

| Yes | No |
| --- | --- |

6. Does the ordinance or regulatory mechanism give the MS4 owner/operator the authority to eliminate unauthorized non-stormwater discharges in the event of violations?  If yes, note page number and paragraph number.

| Yes | No |  | Page Number | Paragraph Number |  |
| --- | --- | --- | --- | --- | --- |

7. Does the ordinance or regulatory mechanism define penalties for violations?  If yes, note maximum penalty, page number and paragraph number.

| Yes | No |  | Maximum Penalty | Page Number | Paragraph Number |
| --- | --- | --- | --- | --- | --- |

8. Does the municipality presently have personnel and procedures in place to detect, identify and eliminate non-stormwater discharges? If yes, describe and indicate percentage of system inspected:

| Yes | No |
| --- | --- |

9. Does the municipality presently have procedures and personnel in place for enforcement of violations of the illicit discharge ordinance?  If yes, describe:

| Yes | No |
| --- | --- |

10. Describe how enforcement actions are documented:

11. Has the municipality defined "hot spots" for non-stormwater discharge screening and inspection purposes?  If yes, describe and provide a map of illicit discharge screening hot spots:

| Yes | No |
| --- | --- |

12. Does the municipality presently have procedures in place to receive and consider information and complaints about non-stormwater discharges that are submitted by the public?  If yes, provide brief description: responsible departments, personnel, steps followed:

| Yes | No |
| --- | --- |

B. Proposed Activities:

1. List the BMPs that you will implement in the area of Illicit Discharge Detection and Elimination. These should be based on a set of priorities that you have identified in the area of Illicit Discharge Detection and Elimination. Provide a short descriptive name to the BMP in the left column and more description in the right column.

| PROPOSED BEST MANAGEMENT PRACTICES FOR ILLICIT DISCHARGE DETECTION AND ELIMINATION |
| --- |
| BMP | Name | DESCRIPTION |
| 2A. |  |  |
| 2B. |  |  |
| 2C. |  |  |
| 2D. |  |  |

If you have additional BMPs to list, include in a separate attachment.

2. What specific groups will be targeted, if applicable?

C. Measurable Goals and Implementation Milestones

Attached at the end of this NOI is an addendum to list BMP Measurable Goals and Implementation Milestones.  You must complete the addendum, providing more details on the goals and milestones for each BMP outlined in this NOI.

D. Administrative Information

| ADMINISTRATIVE INFORMATION FOR ILLICIT DISCHARGE DETECTION AND ELIMINATION |
| --- |
| PRIMARY CONTACT | POSITION OR TITLE |

Identify other Department(s) that will be involved and their role.

| OTHER DEPARTMENT(S) | ROLE |
| --- | --- |

Identify if you will partner with another MS4 Operator, or with another institution (e.g. Chamber of Commerce, Environmental interest organizations, civic groups) in order to carry out the chosen BMPs.

| ENTITY | BMP |
| --- | --- |

Will another governmental entity be responsible for implementing one or more chosen BMPs? If so, identify the entity and which BMP(s) it will implement. Include a copy of the interlocutory agreement, or contract, or proposed agreement with execution schedule.

| ENTITY | BMP |
| --- | --- |

SECTION 3 - CONSTRUCTION SITE STORMWATER RUNOFF PROGRAM

A. Current Activities

The following is a set of questions on your current Construction Site Stormwater Runoff Program. These questions are intended to highlight minimum program requirements under the MS4 permit. For MS4s who have not been previously covered under an MS4 permit, each element not currently performed must be implemented by the dates identified in Sub-part 4.1.1 of the permit. Thus, each question with a “No” answer must be addressed with a solution in the MS4’s proposed program.

1. Do the current ordinances/regulations for the municipal stormwater management program comply with Local, State and Federal public notice requirements?  If yes, describe how the public is notified:

| Yes | No |
| --- | --- |

2. Do you currently have an erosion prevention and sediment control - or similar - ordinance or regulatory mechanism?  If yes, include a copy and reference the paragraph number(s).  If No, proceed to the next set of questions below about construction site plans review.

| Yes | No |  | Page Number | Paragraph Number |  |
| --- | --- | --- | --- | --- | --- |

3. Does the ordinance or regulatory mechanism require that site operators implement erosion prevention, sediment control, and other construction waste controls for land disturbance activities?

| Yes | No |
| --- | --- |

4. Does the ordinance/regulatory mechanism require that controls be implemented for any land disturbances greater than or equal to one acre, or less than one acre if part of a large common plan of development or sale that would disturb one acre or more?  If yes, note the page number and paragraph number where this is defined.

| Yes | No |  | Page Number | Paragraph Number |  |
| --- | --- | --- | --- | --- | --- |

5. Does the ordinance or regulatory mechanism contain or reference technical standards for erosion and sediment control?  If yes, note the page number and paragraph number where this is defined.

| Yes | No |
| --- | --- |

6. Do those technical standards meet or exceed the current effective Tennessee Construction General Permit (TNR100000) requirements for design storm and special conditions for waterbodies with unavailable parameters or Exceptional Tennessee Waters?

| Yes | No |
| --- | --- |

7. Do those technical standards require that construction activities maintain temporary water quality riparian buffers during construction?

| Yes | No |
| --- | --- |

8. Does the municipality presently have in place a technical review process (i.e. engineering department, planning department, zoning board) that evaluates new development and redevelopment construction for construction site runoff?

| Yes | No |
| --- | --- |

9. Does the technical review process require an erosion prevention and sediment control plan with appropriate BMPs?

| Yes | No |
| --- | --- |

10. Does the review process include a requirement for pre-construction meeting between the municipality and site developer, for priority construction sites?

| Yes | No |
| --- | --- |

11. If there is a review process, provide a brief narrative or a flow chart of the process, describing the process steps, responsible personnel, and criteria used for evaluation of information or plans that are submitted:

12. Does the municipality presently have procedures in place for receipt and consideration of information and complaints submitted by the public? If yes, provide a brief narrative of the receipt process and procedures, describing process steps, responsible departments, personnel (by title).

| Yes | No |
| --- | --- |

13. Does the municipality presently have personnel and procedures in place for construction site runoff inspection?

| Yes | No |
| --- | --- |

14. Does the program provide for pre-construction meeting and monthly inspection of priority construction activities?

| Yes | No |
| --- | --- |

15. Does the municipality presently have procedures and personnel in place for enforcement to the maximum extend for violations of construction site requirements?

| Yes | No |
| --- | --- |

16. Does the municipality use a Stop Work or similar order to enforce compliance with construction site policies and requirements?

| Yes | No |
| --- | --- |

17. How are enforcement actions documented?

18. Have MS4 inspectors who conduct inspections of construction sites received certification under the Tennessee Fundamentals of Erosion Prevention and Sediment Control, Level 1, and construction site plan reviewers a certificate of completion from the Tennessee Erosion Prevention and Sediment Control Design Course, Level 2?

| Yes | No |
| --- | --- |

B. Proposed Activities:

1. List the BMPs that you will implement in the area of Construction Site Runoff Program. These should be based on a set of priorities that you have identified in the area of Construction Site Runoff Program. Provide a short descriptive name to the BMP in the left column and more description in the right column.

| PROPOSED BEST MANAGEMENT PRACTICES FOR CONSTRUCTION SITE RUNOFF PROGRAM |
| --- |
| BMP | Name | DESCRIPTION |
| 3A. |  |  |
| 3B. |  |  |
| 3C. |  |  |
| 3D. |  |  |

If you have additional BMPs to list, include in a separate attachment.

2. Describe specific groups that will be targeted, if applicable:

C. Measurable Goals and Implementation Milestones

Attached at the end of this NOI is an addendum to list BMP Measurable Goals and Implementation Milestones.  You must complete the addendum, providing more details on the goals and milestones for each BMP outlined in this NOI.

D. Administrative Information

| ADMINISTRATIVE INFORMATION FOR CONSTRUCTION SITE RUNOFF PROGRAM |
| --- |
| PRIMARY CONTACT | POSITION OR TITLE |

Identify other Department(s) that will be involved and their role.

| OTHER DEPARTMENT(S) | ROLE |
| --- | --- |

Identify if you will partner with another MS4 Operator, or with another institution (e.g. Chamber of Commerce, Environmental interest organizations, civic groups) in order to carry out the chosen BMPs.

| ENTITY | BMP |
| --- | --- |

Will another governmental entity be responsible for implementing one or more chosen BMPs? If so, identify the entity and which BMP(s) it will implement. Include a copy of the interlocutory agreement, or contract, or proposed agreement with execution schedule.

| ENTITY | BMP |
| --- | --- |

SECTION 4 - PERMANENT STORMWATER MANAGEMENT AT NEW DEVELOPMENT AND REDEVELOPMENT

A. Current Activities:

The following is a set of questions on your current Permanent Stormwater Management in New Development and Redevelopment Program. These questions are intended to highlight minimum program requirements under the MS4 permit. For MS4s who have not been previously covered under an MS4 permit, each element not currently performed must be implemented by the dates identified in Sub-part 4.1.1 of the permit. Thus, each question with a “No” answer must be addressed with a solution in the MS4’s proposed program.

1. Does the municipality currently have in place mechanisms or strategies to address permanent stormwater runoff management from new development or redevelopment projects that result in land disturbance of one acre or more? For example, land use planning requirements, zoning directives, site-based pollutant removal controls; stormwater detention or storage; practices that infiltrate stormwater; vegetative practices.

| Yes | No |
| --- | --- |

If yes, provide a brief narrative of - and/or references to - the structural and non-structural strategies, describing strategies implemented, Best Management Practices allowed, technical guidance, responsible departments, and personnel (by title):

2. Do you currently have an ordinance or regulatory mechanism that addresses permanent stormwater runoff management from new development and redevelopment projects?  If yes, reference the page number and paragraph number.  If no, proceed to the next section on permanent stormwater management plans review.

| Yes | No |  | Page Number | Paragraph Number |  |
| --- | --- | --- | --- | --- | --- |

3. Does the ordinance or regulatory mechanism require controls to treat pollutants in stormwater runoff?  If yes, note page number and paragraph number.

| Yes | No |  | Page Number | Paragraph Number |  |
| --- | --- | --- | --- | --- | --- |

4. Does the ordinance or regulatory mechanism require (explicitly or implicitly) that controls be implemented for any new development or redevelopment projects greater than or equal to one acre, including projects less than one acre that are part of a large common plan of development or sale, that discharge into your small MS4?  If yes, note page number and paragraph number.

| Yes | No |  | Page Number | Paragraph Number |  |
| --- | --- | --- | --- | --- | --- |

5. Does the ordinance or regulatory mechanism contain or reference technical standards for water quality controls? If yes, note page number and paragraph number.

| Yes | No |  | Page Number | Paragraph Number |  |
| --- | --- | --- | --- | --- | --- |

6. Does the ordinance or regulatory mechanism clearly define the criteria for submittal -who must submit - of permanent stormwater management design information or plans?  If yes, note page number and paragraph number.

| Yes | No |  | Page Number | Paragraph Number |  |
| --- | --- | --- | --- | --- | --- |

7. Does the ordinance or regulatory mechanism require approval prior to construction of permanent stormwater management controls?  If yes, note page number and paragraph number.

| Yes | No |  | Page Number | Paragraph Number |  |
| --- | --- | --- | --- | --- | --- |

8. Does the ordinance or regulatory mechanism require re-submittal of permanent stormwater management design information or plans if site plans change after the initial design has been approved?  If yes, note page number and paragraph number.

| Yes | No |  | Page Number | Paragraph Number |  |
| --- | --- | --- | --- | --- | --- |

9. Does the ordinance or regulatory mechanism give the MS4 owner/operator the authority to penalize the owner of permanent stormwater management controls for violations?  If yes, note page number and paragraph number.

| Yes | No |  | Page Number | Paragraph Number |  |
| --- | --- | --- | --- | --- | --- |

10. Does the ordinance or regulatory mechanism require that permanent stormwater management controls have adequate and long-term operation and maintenance?  If yes, note page number and paragraph number.  If no, describe how the MS4 owner/operator maintains permanent stormwater management controls:

| Yes | No |  | Page Number | Paragraph Number |  |
| --- | --- | --- | --- | --- | --- |

11. Does the ordinance or regulatory mechanism require establishment and maintenance of water quality riparian buffers in areas of new development and redevelopment?

| Yes | No |
| --- | --- |

12. Does the municipality presently have in place a technical review process (i.e. engineering department, planning department, zoning board) that evaluates new development and redevelopment with regard to the impact that permanent stormwater runoff will have on receiving streams?

| Yes | No |
| --- | --- |

If Yes, provide a brief narrative or a flow chart of the review process, describing the process steps, responsible personnel (by department, title and contact person), and criteria used for evaluation of information or plans that are submitted:

B. Proposed Activities:

List the BMPs that you will implement in the area of the Permanent Stormwater Management Plans Review. These should be based on a set of priorities that you have identified in the area of the Permanent Stormwater Management Plans Review. Provide a short descriptive name to the BMP in the left column and more description in the right column.

| PROPOSED BEST MANAGEMENT PRACTICES FOR PERMANENT STORMWATER PLANS REVIEW |
| --- |
| BMP | Name | DESCRIPTION |
| 4A. |  |  |
| 4B. |  |  |
| 4C. |  |  |
| 4D. |  |  |

If you have additional BMPs to list, include in a separate attachment.

Describe the specific groups that will be targeted, if applicable?

C. Measurable Goals and Implementation Milestones:

Attached at the end of this NOI is an addendum to list BMP Measurable Goals and Implementation Milestones.  You must complete the addendum, providing more details on the goals and milestones for each BMP outlined in this NOI.

D. Administrative Information:

| ADMINISTRATIVE INFORMATION FOR PERMANENT STORMWATER MANAGEMENT PLANS REVIEW |
| --- |
| PRIMARY CONTACT | POSITION OR TITLE |

Identify other Department(s) that will be involved and their role.

| OTHER DEPARTMENT(S) | ROLE |
| --- | --- |

Identify if you will partner with another MS4 Operator, or with another institution (e.g. Chamber of Commerce, Environmental interest organizations, civic groups) in order to carry out the chosen BMPs.

| ENTITY | BMP |
| --- | --- |

Will another governmental entity be responsible for implementing one or more chosen BMPs? If so, identify the entity and which BMP(s) it will implement. Include a copy of the interlocutory agreement, or contract, or proposed agreement with execution schedule.

| ENTITY | BMP |
| --- | --- |

SECTION 5 - POLLUTION PREVENTION/GOOD HOUSEKEEPING FOR MUNICIPAL OPERATIONS

A. Current Activities:

The following is a set of questions on your current Pollution Prevention/Good Housekeeping for Municipal Operations Program. These questions are intended to highlight minimum program requirements under the MS4 permit. Each question with a “No” answer must be addressed with a solution in the MS4’s proposed program.

1. Does the municipality’s current Pollution Prevention/Good Housekeeping program provide annual training for employees responsible for municipal operations at facilities within the jurisdiction of the permittee that handle, generate and/or store materials which constitute a potential pollutant of concern for MS4s? Examples of these materials may include, but are not limited to, lubricants, fuels, sand, gravel, soil, salt, pesticide, fertilizer, garbage, trash, clippings, vehicles, equipment, and other wastes.

| Yes | No |
| --- | --- |

2. Are training activities documented?  If yes, describe training and method of record-keeping:

| Yes | No |
| --- | --- |

3. Has the MS4 owner/operator obtained a Tennessee Multi-Sector General Permit or a no-exposure certification for all qualifying municipal industrial activities?  If yes, give permit numbers or attach copies of the No-Exposure Certification form.

| Yes | No | Permit Numbers(s) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |

4. List municipal operations or facilities that have a potential for contaminating stormwater runoff such as the following: streets, roads, highways, municipal parking lots, maintenance and storage yards, fleet or maintenance shops with outdoor storage areas, salt/sand storage locations, snow disposal areas operated by the MS4, and waste disposal, storage, and transfer stations. If there is more than one facility for a given type of operation; give the number of such facilities. Indicate if an operation and maintenance plan, which includes maintenance activities, schedules and the proper disposal of waste from related structural and non-structural stormwater controls, has been implemented for each facility or operation.

| FACILITY OR TYPE OF OPERATION | NUMBER OF FACILITIES | OPERATION AND MAINTENANCE PLAN IMPLEMENTED? |
| --- | --- | --- |
|  |  | Yes No |
|  |  | Yes No |
|  |  | Yes No |
|  |  | Yes No |
|  |  | Yes No |
|  |  | Yes No |
|  |  | Yes No |
|  |  | Yes No |
|  |  | Yes No |
|  |  | Yes No |
|  |  | Yes No |
|  |  | Yes No |
|  |  | Yes No |
|  |  | Yes No |

B. Proposed Activities:

List the BMPs that you will implement in the area of the Pollution Prevention and Good Housekeeping Program. These should be based on a set of priorities that you have identified in the area of the Pollution Prevention and Good Housekeeping Program. Provide a short descriptive name to the BMP in the left column and more description in the right column.

In addition to considering industrial-type operations, you must also consider municipal infrastructure, and related maintenance activities, maintenance schedules and long-term inspection procedures for structural controls and the proper disposal of waste from storm sewers/catch basins.

| PROPOSED BEST MANAGEMENT PRACTICES FOR POLLUTION PREVENTION AND HOUSEKEEPING |
| --- |
| BMP | Name | DESCRIPTION |
| 5A. |  |  |
| 5B. |  |  |
| 5C. |  |  |
| 5D. |  |  |

If you have additional BMPs to list, include in a separate attachment.

Provide specific groups that will be targeted, if applicable:

C. Measurable Goals and Implementation Milestones:

Attached at the end of this NOI is an addendum to list BMP Measurable Goals and Implementation Milestones.  You must complete the addendum, providing more details on the goals and milestones for each BMP outlined in this NOI.

D. Administrative Information:

| ADMINISTRATIVE INFORMATION FOR POLLUTION PREVENTION AND HOUSEKEEPING |
| --- |
| PRIMARY CONTACT | POSITION OR TITLE |

Identify other Department(s) that will be involved and their role.

| OTHER DEPARTMENT(S) | ROLE |
| --- | --- |

Identify if you will partner with another MS4 Operator, or with another institution (e.g. Chamber of Commerce, Environmental interest organizations, civic groups) in order to carry out the chosen BMPs.

| ENTITY | BMP |
| --- | --- |

Will another governmental entity be responsible for implementing one or more chosen BMPs? If so, identify the entity and which BMP(s) it will implement. Include a copy of the interlocutory agreement, or contract, or proposed agreement with execution schedule.

| ENTITY | BMP |
| --- | --- |

ADDENDUM TO SMALL MS4 NPDES PERMIT NOI - BMPs MEASURABLE GOALS AND MILESTONES

The purpose of this addendum is to record the measurable goals for each BMP, and the dates (month and year) by which interim actions are to be accomplished.  Space is given for four BMPs for each of the six minimum measures.  If necessary, attach additional BMP MEASURABLE GOALS AND MILESTONES as a separate attachment.

Measurable goals are BMP design objectives, or goals that will quantify the progress of implementing the actions or performance of a BMP.  They are ways to measure activities or effects of a BMP.  For each of the six minimum measures and for each BMP, define the measurable goal you will use to monitor effectiveness of this BMP.  The BMPs you list here should match exactly those given in Part V., 1-5 of this NOI. For purposes of this NOI, the Public Education and Outreach and Public Involvement/Participation minimum measures have been combined.

For each BMP, establish milestones for implementation.  These tables are set up for once/year milestones.  You may change the milestone dates to time frames less than one year.

| BEST MANAGEMENT PRACTICES FOR PUBLIC EDUCATION AND PUBLIC PARTICIPATION |
| --- |
| BMP 1A | MEASURABLE GOALS AND MILESTONES |
| Goal(s) |  |
| Milestone Year 1 |  |
| Milestone Year 2 |  |
| Milestone Year 3 |  |
| Milestone Year 4 |  |
| Milestone Year 5 |  |
| BMP 1B | MEASURABLE GOALS AND MILESTONES |
| Goal(s) |  |
| Milestone Year 1 |  |
| Milestone Year 2 |  |
| Milestone Year 3 |  |
| Milestone Year 4 |  |
| Milestone Year 5 |  |

| BMP 1C | MEASURABLE GOALS AND MILESTONES |
| --- | --- |
| Goal(s) |  |
| Milestone Year 1 |  |
| Milestone Year 2 |  |
| Milestone Year 3 |  |
| Milestone Year 4 |  |
| Milestone Year 5 |  |
| BMP 1D | MEASURABLE GOALS AND MILESTONES |
| Goal(s) |  |
| Milestone Year 1 |  |
| Milestone Year 2 |  |
| Milestone Year 3 |  |
| Milestone Year 4 |  |
| Milestone Year 5 |  |

| BEST MANAGEMENT PRACTICES FOR ILLICIT DISCHARGE DETECTION AND ELIMINATION |
| --- |
| BMP 2A | MEASURABLE GOALS AND MILESTONES |
| Goal(s) |  |
| Milestone Year 1 |  |
| Milestone Year 2 |  |
| Milestone Year 3 |  |
| Milestone Year 4 |  |
| Milestone Year 5 |  |
| BMP 2B | MEASURABLE GOALS AND MILESTONES |
| Goal(s) |  |
| Milestone Year 1 |  |
| Milestone Year 2 |  |
| Milestone Year 3 |  |
| Milestone Year 4 |  |
| Milestone Year 5 |  |

| BMP 2C | MEASURABLE GOALS AND MILESTONES |
| --- | --- |
| Goal(s) |  |
| Milestone Year 1 |  |
| Milestone Year 2 |  |
| Milestone Year 3 |  |
| Milestone Year 4 |  |
| Milestone Year 5 |  |
| BMP 2D | MEASURABLE GOALS AND MILESTONES |
| Goal(s) |  |
| Milestone Year 1 |  |
| Milestone Year 2 |  |
| Milestone Year 3 |  |
| Milestone Year 4 |  |
| Milestone Year 5 |  |

| BEST MANAGEMENT PRACTICES FOR CONSTRUCTION SITE RUNOFF PROGRAM |
| --- |
| BMP 3A | MEASURABLE GOALS AND MILESTONES |
| Goal(s) |  |
| Milestone Year 1 |  |
| Milestone Year 2 |  |
| Milestone Year 3 |  |
| Milestone Year 4 |  |
| Milestone Year 5 |  |
| BMP 3B | MEASURABLE GOALS AND MILESTONES |
| Goal(s) |  |
| Milestone Year 1 |  |
| Milestone Year 2 |  |
| Milestone Year 3 |  |
| Milestone Year 4 |  |
| Milestone Year 5 |  |

| BMP 3C | MEASURABLE GOALS AND MILESTONES |
| --- | --- |
| Goal(s) |  |
| Milestone Year 1 |  |
| Milestone Year 2 |  |
| Milestone Year 3 |  |
| Milestone Year 4 |  |
| Milestone Year 5 |  |
| BMP 3D | MEASURABLE GOALS AND MILESTONES |
| Goal(s) |  |
| Milestone Year 1 |  |
| Milestone Year 2 |  |
| Milestone Year 3 |  |
| Milestone Year 4 |  |
| Milestone Year 5 |  |

| BEST MANAGEMENT PRACTICES FOR PERMANENT (POST-CONSTRUCTION) STORMWATER MANAGEMENT PROGRAM |
| --- |
| BMP 4A | MEASURABLE GOALS AND MILESTONES |
| Goal(s) |  |
| Milestone Year 1 |  |
| Milestone Year 2 |  |
| Milestone Year 3 |  |
| Milestone Year 4 |  |
| Milestone Year 5 |  |
| BMP 4B | MEASURABLE GOALS AND MILESTONES |
| Goal(s) |  |
| Milestone Year 1 |  |
| Milestone Year 2 |  |
| Milestone Year 3 |  |
| Milestone Year 4 |  |
| Milestone Year 5 |  |

| BMP 4C | MEASURABLE GOALS AND MILESTONES |
| --- | --- |
| Goal(s) |  |
| Milestone Year 1 |  |
| Milestone Year 2 |  |
| Milestone Year 3 |  |
| Milestone Year 4 |  |
| Milestone Year 5 |  |
| BMP 4D | MEASURABLE GOALS AND MILESTONES |
| Goal(s) |  |
| Milestone Year 1 |  |
| Milestone Year 2 |  |
| Milestone Year 3 |  |
| Milestone Year 4 |  |
| Milestone Year 5 |  |

| BEST MANAGEMENT PRACTICES FOR MUNICIPAL POLLUTION PREVENTION AND GOOD HOUSEKEEPING |
| --- |
| BMP 5A | MEASURABLE GOALS AND MILESTONES |
| Goal(s) |  |
| Milestone Year 1 |  |
| Milestone Year 2 |  |
| Milestone Year 3 |  |
| Milestone Year 4 |  |
| Milestone Year 5 |  |
| BMP 5B | MEASURABLE GOALS AND MILESTONES |
| Goal(s) |  |
| Milestone Year 1 |  |
| Milestone Year 2 |  |
| Milestone Year 3 |  |
| Milestone Year 4 |  |
| Milestone Year 5 |  |

| BMP 5C | MEASURABLE GOALS AND MILESTONES |
| --- | --- |
| Goal(s) |  |
| Milestone Year 1 |  |
| Milestone Year 2 |  |
| Milestone Year 3 |  |
| Milestone Year 4 |  |
| Milestone Year 5 |  |
| BMP 5D | MEASURABLE GOALS AND MILESTONES |
| Goal(s) |  |
| Milestone Year 1 |  |
| Milestone Year 2 |  |
| Milestone Year 3 |  |
| Milestone Year 4 |  |
| Milestone Year 5 |  |